TC-C35MS 4LHB-27135 
Dome Camera

LK

KEY FEATURES 
Metal housing 
Up to 5MP,2880×1620@30fps 
S+265/H.265/H.264B/H.264M/H.264H/Motion JPEG 
Color:0.002Lux@(F1.6,AGC ON),B/W:0Lux with IR 
IR range up to 50m 
1×Built-in Mic 
Support microSD/microSDHC/microSDXC card,up to 512GB Support smart surveillance, face capture

2026.03.20

Support human/vehicle/non-motor vehicle/pet(cat、dog) classification Operating conditions -35℃~65℃(-31℉~149℉), ≤95%RH 
DC12V±25%,Max. 8.5W, PoE:IEEE 802.3at,Max. 9.5W 
IP66, IK10

SPECIFICATIONS

| Camera |  |
| --- | --- |
| Image Sensor | 1/2.7"CMOS |
| Min. Illumination | Color:0.002Lux@(F1.6,AGC ON),B/W:0Lux with IR |
| Shutter Time | 1s~1/100000s |
| Day&Night | IR-cut filter with auto switch (ICR) |
| Smart IR | Yes |
| WDR | 120dB,True WDR(TWDR) |
| S/N | >42dB |
| Angle Adjustment | 0~345°(P); 0~90°(T); 0~350°(R) |
| Lens |  |
| Lens Type | Motorized |
| Focal Length | 2.7~13.5mm |
| Lens Mount | Φ14 |
| Aperture Range | F1.6 |
| Aperture Type | Fixed |
| Field of View | 102°~33.2°(H); 56.7°~18.7°(V); 125.7°~38°(D) |
| DORI Distance | Detect:60m~220m Observe:24m~87m Recognize:12m~44m Identify:6m~22m |
| Illuminator |  |

2026.03.20

| IR LEDs | 16 |
| --- | --- |
| IR Distance | Up to 50m |
| Wavelength | 850nm |
| White LEDs | 8 |
| Whitelight Distance | 15m |
| Compression Standard |  |
| Video Compression | S+265/H.265/H.264B/H.264M/H.264H/Motion JPEG |
| Video Bit Rate | 32k~16Mbps |
| Audio Compression | G.711A/G.711U/ADPCM_D/AAC_LC |
| Audio Sampling Rate | 8kHz/32kHz/48kHz |
| Image |  |
| Max. Resolution | 5MP,2880×1620@30fps |
| Main Stream | PAL:25fps(2880×1620,2688×1520, 2560×1440, 2304×1296)50fps(1920×1080, 1280×720) NTSC:30fps(2880×1620,2688×1520, 2560×1440, 2304×1296)60fps(1920×1080, 1280×720) |
| Sub Stream | PAL:25fps(704×576, 704×288, 640×360, 352×288) NTSC:30fps(704×480, 704×240, 640×360, 352×240) |
| Third Stream | PAL:25fps(1280x720,704x576,704x288,352x288, 640×480) NTSC:30fps(1280x720,704x480,704x240,352x240, 640×480) |
| BLC | Yes |
| HLC | Yes |
| AGC | Yes |
| 3D DNR | Yes |
| White Balance | Auto/Semi-Auto/Manual/Sunshine/Nature Light/Warmlight Lamp/Daylight Lamp/Filament Lamp/ Lock White Balance |
| ROI | 8 rectangular static areas |
| Corridor Mode | Yes |
| OSD | Overlay of additional characters in 5 regions,2 line, with a maximum of 127 characters or 42 Chinese characters per region; 16*16/24*24/32*32/48*48/64*64/96*96,Default Adaptive; Vector/ Lattice |

2026.03.20

| Picture Overlay | 1*200x200 size BMP 24 color bit image overlay |
| --- | --- |
| Privacy Mask | 4 black static areas |
| Defog | Yes |
| Feature |  |
| General Alarm | Motion Detection; Mask Alarm; Alarm Input |
| Exceptions Alarm | Voltage Alarm; Disk Full; Disk R/W Error; IP Address Conflict; MAC Address Conflict; FTP Server Exception ; Network Disconnection; No Disk; Illegal Access |
| Linkage Method | Send Email; Trigger Sound; Trigger Warmlight; Trigger Recording; Trigger Capture; Notify Surveillance Center; Alarm Output; Trigger smart light |
| Video Analytics | Human/Vehicle/Non-motor Vehicle/Pet(Cat、Dog) Classification; Tripwire; Perimeter; Video Abnormal; Audio Abnormal |
| Rules of Behavior Analyse In 1 Scene | 8 |
| Face Mode | Face Capture |
| Face Detection Performance | Detect up to 8 faces at the same scene; Capture up to4 faces at the same scene |
| False Rate of Face Capture | ≤1% |
| Face Duplicate Capture Rate | ≤20%（Continuous 4-person scene and below） |
| Mask Attribute Linkage Alarm | Mask Attribute Linkage Alarm |
| Image Push Strategy | Image Push Strategy |
| Image Push Interval | Image Push Interval |
| Capture Mode | Capture Mode |
| Face Capture | Face Capture |
| Background Image Resolution | 1920*1080 |
| Background Image OSD Overlay | video streamOSD/customize |
| Network |  |
| ANR | Yes |

2026.03.20

| Protocols | RTSP; RTMP; HTTP; HTTPS; TCP; UDP; UPnP; ICMP; IGMP; SNMP v1\v2\v3; DHCP; DNS; DDNS; Easy DDNS; NTP; SMTP; TLS v1.2; SSL; 802.1X; QoS; IPv4; IPv6; PPPoE; SSH; Unicast; Multicast; RTCP; ARP; SRTP; FTP; SFTP; NAS |
| --- | --- |
| System Compatibility | ONVIF(Profile S/T/G/M) ; SDK; CGI; Milestone |
| Remote Connection | Up to 7 channels |
| Client | Easy7 VMS |
| Mobile Client | EasyLive Plus |
| Web | IE10+; Firefox52+; Edge89+; Safari11+; Chrome57+ |
| Interface |  |
| Communication Interface | 1×RJ-45 (10/100 Base-T) |
| Audio I/O | 1×input, two-core , max. input amplitude:3.3 Vpp, input impedance:1 KΩ, interface type:non-equilibrium; 1×output, two-core, max. output amplitude:3.3 Vpp, output impedance:100 Ω, interface type: non-equilibrium |
| Alarm I/O | 1×input,TTL,3mA,3.3VDC; 1×output,TTL,30mA,12VDC |
| Built-in Mic | 1×Built-in Mic |
| Reset Button | Yes |
| On-board Storage | Support microSD/microSDHC/microSDXC card,up to 512GB |
| RTC | Yes |
| General |  |
| Web Client Language | 20 languages Simple Chinese/Traditional Chinese/English/Spanish/Korean/Italian/Turkish/Russian/Thai/French/ Polish/Dutch/Hebrew/Arabic/Vietnamese/German/Ukrainian/Portuguese/Albanian/Greek |
| Operating Temperature | -35℃~65℃(-31℉~149℉) |
| Operating Humidity | ≤95%RH |
| Storage Temperature | -40℃~65℃(-40℉~149℉) |
| Storage Humidity | 10%~95%RH(non-condensing) |
| Power Supply | DC12V±25%,Max. 8.5W; PoE:IEEE 802.3at,Max. 9.5W |
| Protection | Surge4000V; ESD6000V; IP66; IK10 |
| Boundary Dimensions | 143(L)143(W)123(H)mm |

2026.03.20

| Package Dimensions | 250(L)180(W)175(H)mm |
| --- | --- |
| GrossWeight | 1.18kg |
| NetWeight | 0.9kg |

DIMENSIONS (Unit: mm)

2026.03.20

Assembly diagram of Junction Box

2026.03.20